# *Prices Subject to Change*

# *NDS Products, Inc. Equipment* Price List See 1-Aug-24

## **Domestic Price List – *WARRANTY VALID IN USA ONLY* - ISO 9001:2015 Registered**

111 Anderson St. Pasadena, TX 77506 Phone (713)475-2986 Fax (713)477-6741 Sales USA 1-800-413-4750

Web Site: ndsproducts.com E-mail: info@ndsproducts.com

***20% Re-stocking fee plus shipping for all returned items – No Exceptions***.

All prices F.O.B. Pasadena, Texas, USA.

Minimum Domestic Order $ 100.00 – Minimum International Order $ 300.00.

All prices subject to change without further notice.

**No returns without authorization – No returns after 30 days – No exceptions**.

 ***High Range Gamma / X-Ray Survey Meters***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **ND-2000** | **3 Range, 0-1000 mR/hr, uSv/hr available**  | **1025.00** |
| **ND-2000A** | **Same as ND-2000 with Audio**  | **1050.00** |
| **ND-2000P** | **Same as ND-2000 with detector in hand held probe** | **1200.00** |
| **ND-2000PA** | **Same as ND-2000P with Audio** | **1225.00** |
| **ND-2200** | **Same as ND-2000 with Energy Comp. 50KeV to 1.5 MeV GM Tube** | **1100.00** |
| **ND-2200A** | **Same as ND-2200 with Audio** | **1125.00** |
| **ND-2500** | **4 Range, 0-1000 mR/hr, uSv/hr available** | **1100.00** |
| **ND-2500A** | **Same as ND-2500 with Audio** | **1125.00** |
| **ND-3000** | **5 Range, 0-10 R/hr mR/hr, uSv/hr available** | **1250.00** |
| **ND-3000A** | **Same as ND-3000 with Audio** | **1275.00** |

 ***Wide Range Survey Meters***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **ND-2RP** | **5 Range, Dual Detectors, 0-2000 mR/hr and CPM, Alpha/Beta/****Gamma/X-Ray, Audio, Response Switch, End Window Probe** | **1420.00** |
| **ND-2RPC** | **Same as ND-2RP with Pancake Probe** | **1350.00** |
| **ND-2RID** | **Same as ND-2RPC with internal Pancake Detector** | **1350.00** |

 ***Low Range Survey Meters***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **ND-CPM** | **4 Range CPM Survey Meter with Cable, no Probe** | **875.00** |
| **ND-500A** | **4 Range, 0-500 mR/hr, Gamma and X-Ray** | **1040.00** |
| **ND-500AA** | **Same as ND-500A with Audio** | **1065.00** |
| **ND-500P** | **4 Range, 0-500 mR/hr, CPM, with External Beta / Gamma / X-Ray****Probe with rotating Beta window** | **1200.00** |
| **ND-500PA** | **Same as ND-500P with Audio and Response** | **1225.00** |
| **ND-200P** | **4 Range, 0-200 mR/hr, CPM, Alpha / Beta / Gamma / X-Ray, Audio and Response, Cable and End Window Probe** | **1270.00** |
| **ND-200PC** | **Same as ND-200P with Pancake Probe** | **1275.00** |
| **ND-200ID** | **Same as ND-200PC with built-in Pancake Detector** | **1250.00** |
| **ND-1000S** | **3 Range, 0-1000 uSv/hr, Gamma and X-Ray** | **1050.00** |
| **ND-1000SA** | **Same as ND-1000S with Audio** | **1075.00** |

***Rate Alarms / Personal Alarms***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **RA-500** | **500 mR/hr Audible Rate Alarm, Meets NRC 10 CFR 34.33** | **380.00** |
| **RA-500L** | **Same as RA-500 with L.E.D.** | **410.00** |
| **ND-15** | **2 Range Audible Alarm, Preset at Factory** | **380.00** |
| **ND-15L** | **Same as ND-15 with L.E.D.** | **410.00** |
| **ND-20** | **2 Range Audible Beta/Gamma/X-Ray Personal Alarm** | **390.00** |
| **ND-20L** | **Same as ND-20 with L.E.D.** | **420.00** |
| **RACASE** | **Rate Alarm Case, Fits all of the above and a Dosimeter** | **40.00** |

 ***Dosimeter Chargers and Dosimeters***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **W138** | **0-200 mR Dosimeter** | **150.00** |
| **W138S** | **0-2 mSv Dosimeter** | **150.00** |
| **W500** | **0-500 mR Dosimeter** | **150.00** |
| **W500S** | **0-5 mSv Dosimeter** | **150.00** |
| **W720** | **0-2 R Dosimeter** | **150.00** |
| **725** | **0-5 R Dosimeter** | **150.00** |
| **730** | **0-20 R Dosimeter** | **150.00** |
| **742** | **0-200 R Dosimeter** | **150.00** |
| **746** | **0-600 R Dosimeter** | **150.00** |

 ***Area Monitors***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **ND-4000B** | **Preset 2 mR/hr trip point 110 VAC** | **1550.00** |
| **ND-4000B**  | **Same as above but operates at 230 VAC** | **1600.00** |
| **ND-4000BL** | **Preset 2 mR/hr trip point 110 VAC, Red Rotating Warning Light on top of unit (110 VAC only)** | **1650.00** |
| **ND-4000BLA** | **Same as ND-4000BL with Audio (110 VAC only)** | **1750.00** |
| **ND-4000** | **Portable 12 Volt with Red Strobe Warning Light and Audio, Battery Charger (120 or 230 VAC)** | **1950.00** |
| **ND-AM (A)** | **2 Range 110 VAC with remote Detector, Alarm readout, Alarm trip adjustment and Cable. Range 5 & 50 mR/hr** | **3250.00** |
| **ND-AM (B)** | **2 Range 110 VAC with remote Detector, Alarm readout, Alarm trip adjustment and Cable. Range 50 & 500 mR/hr** | **3250.00** |
| **ND-AM (C)**  | **2 Range 110 VAC with remote Detector, Alarm readout, Alarm trip adjustment and Cable. Range 100 & 1000 mR/hr** | **3250.00** |
| **ND-AM1** | **Area Monitor Option, Red Rotating Warning Light on Stand with 25 Feet of Cable.** | **495.00** |
| **ND-AM2** | **Area Monitor Option, Red Rotating Warning Light & Siren on Stand with 25 Feet of Cable.** | **600.00** |
| **ND-AM3** | **Area Monitor Option, Siren and Mount with 25 Feet of Cable** | **300.00** |

**Note: Options ND-AM1, ND-AM2 and ND-AM3 are 110 VAC only**

 ***Radiation Warning Signs, 8 X 10 Inches, Magenta (Purple) on Yellow***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **PL-1** | **Caution Radiation Area** | **15.00** |
| **PL-2** | **Caution Radioactive Material** | **15.00** |
| **PL-3** | **Caution High Radiation Area** | **15.00** |
| **PL-4** | **Caution X-Ray** | **15.00** |
| **PL-5** | **Caution Restricted Area** | **15.00** |
| **PL-6** | **Danger Radiation Area** | **15.00** |
| **PL-7** | **Danger High Radiation Area** | **15.00** |
| **PL-8** | **Danger Very High Radiation Area** | **15.00** |
| **PL-9** | **Grave Danger Very High Radiation Area** | **15.00** |
| **PL-10** | **Authorized Personnel…..Isotope: Activity:**  | **15.00** |
| **SP-1** | **Spanish / English, Caution Radiation Area** | **15.00** |

 ***Accessories***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **EW101-01** | **600 VDC Thin End Window Alpha / Beta / Gamma / X-Ray G.M. Probe with BNC Connector** | **465.00** |
| **PC101-02** | **600 VDC Pancake Alpha / Beta / Gamma / X-Ray G.M. Probe With BNC Connector. Also Available in 900 VDC.** | **400.00** |
| **SW101-03** | **600 VDC Side Wall Beta / Gamma / X-Ray G.M. Probe With BNC Connector**  | **390.00** |
| **SG101-07** | **600 VDC Side Wall Gamma / X-Ray G.M. Probe** | **395.00** |
| **CC58C-3** | **30 Inch BNC Probe Cable** | **65.00** |

***Parts***

| **Model** | **Description** | **List $** |
| --- | --- | --- |
| **N5388-DIG-6351-01** | **Meter Movement 6351 Digital, 0-50 UADC, 3VDC AUX** | **335** |
| **N5388-D14749-02** | **Meter Movement Analog** | **335** |