NDS Products, Inc. Calibration / Repair Price List 11/15/23

111 Anderson St., Pasadena, TX 77506 Phone: 713/475-2986 Fax: 713/477-6742 Sales USA: 1-800-413-4750

ISO 9001:2008 Registered Web Site: ndsproducts.com E-mail: [info@ndsproducts.com](mailto:info@ndsproducts.com) License # L00991

Prices do not include parts, batteries, return shipping or sales tax. Most calibrations are completed and shipped within 5 days. Standard calibration includes certificates with before and after data and instrument labels. Please call for a price quote on instruments not listed, specify manufacturer, model, range and type of detection.

Instruments Calibrated with efficiencies to the following add $ 60.00 to calibration price below.

Isotopes: I-129, Pu-238, Am-241, Tc-99, Th-230, Ni-63, Cl-14

Add $ 40.00 per detector / probe to calibration price below for instruments with more than one probe.

Repair Labor Rate1: Add $ 70.00 to calibration charge – up to 30 minutes.

Repair Labor Rate 2: Add $ 90.00 to calibration charge – up to 60 minutes.

Repair Labor Rate 3: Add $ 120.00 to calibration charge on all Ion Chambers.

Repair Quotes: $70.00 will be deducted if repairs are authorized.

***Batteries WILL be changed if they are received and will not battery check. $4.00 for 2 D cell, $2.00 each for 9 V.***

All Prices below are for Cs-137 calibrations unless denoted otherwise.

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| **NDS Products** | **ND-2000, ND-2000C, ND-2200, ND-1000S** | **60.00** |
|  | **ND-500A&P, ND-200P, All ND-200 Series** | **65.00** |
|  | **ABG-50, ABG-100, ND-2500** | **65.00** |
|  | **ND-3000, All ND-2R series** | **85.00** |
|  | **HR-100, HR-100P, ND-PCWT** | **125.00** |
|  | **All ND-4000 series** | **110.00** |
|  | **ND-AM up to 10 R/hr** | **125.00** |
|  | **ND-AM above 10 R/hr** | **170.00** |
|  | **RA-500 series, ND-15 series** | **50.00** |
|  | **ND-100 Repair / Certify** | **75.00** |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| All Pen Style | 1 point 0-500 mR | 45.00 |
| Dosimeters | 1 point 1-5 R | 55.00 |
|  | 1 point 10 R | 75.00 |
|  | 1 point 20 R | 80.00 |
|  | 1 point 100 R and up | 100.00 |
|  | Each additional point add to above | 40.00 |
| Digital Dosimeters | Models / Types not mentioned elsewhere | 80.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Bicron | Radiographer | 65.00 |
|  | Surveyor 50, 200, 2000, Microrem, | 80.00 |
|  | Surveyor M, MS, RSO-5, Micro Analyst | 85.00 |
|  | Frisk Tech, RSO-50, Tech-50, RSO-50E | 140.00 |
|  | RSO-500 | 185.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Arrow-Tech | Rate Alarms 18C, 33, PD1100 | 60.00 |
| Dosimeter Corp, DCA | 1888B, 25 | 70.00 |
|  | 3007, 4007A, 3700, 3500, 3009, 4009A, Mini-Rad, 3006, 3006-2, 3030 | 75.00 |
|  | 2000, 3100, 3090-3, 3031-2, 3096-3, 3032-2 | 105.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Eberline | E-120, E-130, E-140, E-520, E-530, RM-14, E-150A | 70.00 |
| Thermo | RO20, ESP-1&2, ASP-1&2, ASP-20, RO-2, RO-3C, RO-3, Interceptor | 145.00 |
|  | PIC-6A, PIC-3, RO-7, RO-7B | 165.00 |
|  | RO-7 with any 2 probes, E-600 | 195.00 |
|  |  |  |
|  |  |  |
| **Manufacturer** | **Model / Type** | **List Price $** |
| G.E. Smith & Assoc. | All 3 Range Instruments | 65.00 |
|  | All 4 Range Instruments | 70.00 |
|  | All 5 Range Instruments | 85.00 |
|  | All Area Monitors | 120.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Industrial Nuclear | Model 2 | 65.00 |
|  | Model 4 | 75.00 |
|  | Model P | 90.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Ludlum | 2, 2401-E, 2402, 2403 | 75.00 |
|  | 3, 4, 12, 16, 18, 3-90, 2401-P, 6, 25-IS, 3005 | 80.00 |
|  | 3-97, 3-98, 12S, 19, 2401-S, 192, 300, 355, 17 | 95.00 |
|  | 5, 14C, 177, 9, 375, Primalert | 90.00 |
|  | 2221, 2200, 1000 | 120.00 |
|  | 2241-2 with 2 probes | 125.00 |
|  | 2241-3 with 3 probes | 160.00 |
|  | 2241-3 with 4 probes | 185.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Mini-Instruments | 900 Series, 1000 | 90.00 |
|  | 6100 | 90.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Nuclear Chicago | 2500, 2586, 2650 | 155.00 |
| Texas Nuclear |  |  |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| SE International | Monitor 4, 4EC, 5 in mR/hr | 70.00 |
|  | MCK1, Inspector, Digilert 50, Ranger | 75.00 |
|  | 5 in CPM, Radalert 100 | 85.00 |
|  | Sentry | 65.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Technical Associates | PUG-1, TBM-3, TBM-23, TBM-15 | 80.00 |
|  | PUG-1AB, Micro-PUG, TBM-3 | 85.00 |
|  | TBM-6A, PDA-2 | 90.00 |
|  | TBM-50, TBM-1C | 95.00 |
|  | TBM-55, CP-44, JL-4R | 125.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Victoreen or | 400, 492 | 70.00 |
| Inovision or | 410, 425, 490, 493, 497, 498 | 80.00 |
| Nuclear Associates or | All Radectors, 444, 470A, 471 | 185.00 |
| Fluke | 440, 491, 740, | 125.00 |
|  | 592, 692, 808, 813, PRO-50 | 110.00 |
|  | 190, 450, 451, 100 | 190.00 |
|  | All Primalerts, Bleepers, Prima 7, 885 | 70.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| William B Johnson | All 3 range, | 75.00 |
|  | All 4 range, GC-5000, GSM-502/503, DSM506 | 85.00 |
|  | 2000W | 180.00 |
|  | GSM-525, DSM-501 | 105.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
| Xetex | 317 Rate Alarms | 70.00 |
|  | Digital Dosimeters. 335B, 415B | 80.00 |
|  | 304A, 305B, 302B | 120.00 |

|  |  |  |
| --- | --- | --- |
| **Manufacturer** | **Model / Type** | **List Price $** |
|  | Any additional Documentation Per Certificate | 60.00 |
|  | Any Electronic Pulse Generator Calibration | 75.00 |
| Any Manufacturer | Dosimeter Charger Repair / Certify | 75.00 |
| Aloka | Digital Dosimeters | 75.00 |
| Aea, Amersham, T/O | 492D Area Monitor | 130.00 |
| Canbera | MRAD103 | 95.00 |
| Canadian Admiral | RD5016C, CCD100-10 | 100.00 |
| Civil Defense Inst. | CDV-700 | 65.00 |
| Civil Defense Inst. | CDV-715, 717, 720 | 85.00 |
| Health Physics Inst. | Canary 4083 | 65.00 |
| Int’l. Medcom | Radalert 50 | 65.00 |
| Inspectech | 2-14 | 80.00 |
| Peterson Elect. | 8007 | 70.00 |
| Quality NDE | PAD | 75.00 |
| Radix | 2000, 2001 | 80.00 |
| Rados | RAD-60R | 80.00 |
| RAE System | PRM-3000 | 80.00 |
| Research Products | Rad-Monitor 9000, GM-2 | 100.00 |
| Sensor Tech. | Radiation Pager | 65.00 |
| Sper, RDX Nuclear | Any Model | 70.00 |
| 3E | SM 1000 | 65.00 |
| Troxler | Troxalert, 3105B | 65.00 |
| Russell Mfg. | All Rate Alarms | 65.00 |
| Russell Mfg. | 10R Survey Meter | 100.00 |
| Veretec | Bleeper | 65.00 |